PLANT/EQUIPMENT ISOLATION PERMIT

This permit must only be used in conjunction with a Permit to Work

| Section1 - WORK INFORMATION |  |  |  |
| --- | --- | --- | --- |
| ACU Permit to Work Reference [see Permit to Work] | PTW- |  |  |
| Organisational Unit or Company Performing Work |  | Tel: |  |
| Contact Name |  | Tel: |  |
| Location of Work |  |  |  |

Description of work to be undertaken:

| Section 2 - ISOLATIONS UNDERTAKEN |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| The following actions have been undertaken to implement isolation: | Valve Open (O) or Closed (C) | (Tick) |  |  |  |  |
|  |  | Lock Fitted | Tag Fitted | Sign Fitted | Date | Initials |

Section 3 - HAZARDS REMAINING

Section 4 - PRECAUTIONS TO BE TAKEN

Section 5 - ACTIONS TO BE TAKEN TO PROVE ISOLATION

Section 6 - MONITORING TO BE UNDERTAKEN

| CONFIRMATION OF ISOLATION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| I confirm that the isolation(s) detailed in section 2 has been carried out and that work may start subject to the requirements of sections 4, 5 and 6. |  |  |  |  |  |
| Competent Person | Position / Organisation | Signature | Date |  | Time |
| ISSUE OF PERMIT – AUTHORISED PERSON |  |  |  |  |  |
| Name of person issuing permit | Position / Organisation | Signature | Date | Time |  |
| RECEIPT OF PERMIT – PERMIT HOLDER |  |  |  |  |  |
| Person in charge of work | Position / Organisation | Signature | Date | Time |  |
| CONFIRMATION OF WORK COMPLETION – PERMIT HOLDER |  |  |  |  |  |
| I confirm that the works for which the isolation(s) was implemented have been completed, all contractors under my control have been withdrawn and the isolation(s) can be removed |  |  |  |  |  |
| Person in charge of work | Position / Organisation | Signature | Date | Time |  |
| CONFIRMATION OF ISOLATION REMOVAL |  |  |  |  |  |
| I confirm that the isolation(s) has been removed and it is no longer safe to work on the equipment |  |  |  |  |  |
| Competent Person | Position / Organisation | Signature | Date | Time |  |
| CANCELLATION OF PERMIT – AUTHORISED PERSON |  |  |  |  |  |
| Person cancelling permit | Position / Organisation | Signature | Date | Time |  |